## Internal
REVISION DATE: 12.10.2021
LIST OF MMTE _2021 WITH CALIBRATION SCHEDULE
a) INSTRUMENTS CALIBRATED INHOUSE
Sr No | Instrument name | Sr No/Tag No | LOCATION | ACCEPTANCE CRITERIA | Least Count | RANGE | CALIBRATION FREQUENCY | Cal Date | Cal Due Date
1 | Ore Bin (weighing system) | BF1-WB1 | BF1Control Room | +/-5 kgs | 1 kg | 0 to 3000 Kgs | Once in 3 months | 28.05.2022 | 28.08.2022
2 | Ore Bin (weighing system) | BF1-WB2 | BF1Control Room | +/-5 kgs | 1 kg | 0 to 3000 Kgs | Once in 3 months | 28.05.2022 | 28.08.2022
3 | Ore Bin (weighing system) | BF1-WB3 | BF1Control Room | +/-5 kgs | 1 kg | 0 to 3000 Kgs | Once in 3 months | 28.05.2022 | 28.08.2022
4 | Ore Bin (weighing system) | BF1-WB4 | BF1Control Room | +/-5 kgs | 1 kg | 0 to 3000 Kgs | Once in 3 months | 28.05.2022 | 28.08.2022
5 | Flux Bin (weighing system) | BF1-WB5 | BF1Control Room | +/-5 kgs | 1 kg | 0 to 2000 Kgs | Once in 3 months | 28.05.2022 | 28.08.2022
6 | Flux Bin (weighing system) | BF1-WB6 | BF1Control Room | +/-5 kgs | 1 kg | 0 to 2000 Kgs | Once in 3 months | 28.05.2022 | 28.08.2022
7 | Coke Bin (weighing system) | BF1-WB7 | BF1Control Room | +/-5 kgs | 1 kg | 0 to 3000 Kgs | Once in 3 months | 28.05.2022 | 28.08.2022
8 | Ore Bin (weighing system) | BF2-WB1 | BF2 Control Room | +/-5 kgs | 1 kg | 0 to 5000 kgs | Once in 3 months | 10.08.2022 | 10.11.2022
9 | Ore Bin (weighing system) | BF2-WB2 | BF2 Control Room | +/-5 kgs | 1 kg | 0 to 5000 kgs | Once in 3 months | 10.08.2022 | 10.11.2022
10 | Flux Bin (weighing system) | BF2-WB3 | BF2 Control Room | +/-5 kgs | 1 kg | 0 to 2000 kgs | Once in 3 months | 10.08.2022 | 10.11.2022
11 | Coke Bin (weighing system) | BF2-WB4 | BF2 Control Room | +/-5 kgs | 1 kg | 0 to 3000 kgs | Once in 3 months | 10.08.2022 | 10.11.2022
12 | Top Gas TX BF1 | BF1-TGPT | BF1 Top | +/- 20 mmWc | ------- | 0-5000mmWc | Once in a year | 25.05.2022 | 25.05.2023
13 | Inter Bell TX BF1 | BF1-IBPT | BF1 Top | +/- 20 mmWc | ------- | 0-5000mmWc | Once in a year | 13.08.2022 | 13.08.2023
14 | Hot Blast TX BF1 | BF1-HBPT | BF1 Bustle | +/- 0.01 kg/cm2 | ------- | 0 to 1.6 kg/cm2 | Once in a year | 25.08.2022 | 25.08.2023
15 | Wind Volume TX BF1 | BF1-WVB | BF1 Near Blower House | +/-5 mmwc | ------- | 0 to 704.89 mmwc | Once in a year | 08.04.2022 | 08.04.2023
16 | Top Gas TX BF2 | BF2-TGPT | BF2 Top | +/- 20 mmWc | ------- | 0-5000mmWc | Once in a year | 10.05.2022 | 10.05.2023
17 | Inter Bell TX BF2 | BF2-IBPT | BF2 Top | +/- 20 mmWc | ------- | 0-5000mmWc | Once in a year | 10.05.2022 | 10.05.2023
18 | Hot Blast TX BF2 | BF2HBPT | BF2 Bustle | +/- 0.01 kg/cm2 | ------- | 0 to 1.6 kg/cm2 | Once in a year | 10.05.2022 | 10.05.2023
19 | Wind Volume TX BF2 | BF2-WVB | BF2 Near Blower House | +/-5 mmwc | ------- | 0 to 704.89 mmwc | Once in a year | 10.05.2022 | 10.05.2023
20 | Hot Blast Pressure Indicator BF1 | BF1-REC-HBP | BF1 Control Room | +/- 0.01 kg/cm2 | ------- | 0 to 1.6 kg/cm2 | Once in a year | 25.05.2022 | 25.05.2023
21 | Top Gas Pressure Indicator BF1 | BF1-REC-TGP | BF1 Control Room | +/- 20 mmWc | ------- | 0-5000mmWc | Once in a year | 25.05.2022 | 25.05.2023
22 | Inter Bell Pressure Indicator Bf1 | BF1-REC-IBP | BF1 Control Room | +/- 20 mmWc | ------- | 0-5000mmWc | Once in a year | 04.03.2022 | 04.03.2023
23 | Wind Volume Indicator BF1 | BF1-REC-WVB | BF1 Control Room | +/-300 nm3/hr | ------- | 0 to 38,000 Nm3 | Once in a year | 27.05.2022 | 27.05.2023
24 | Hot Blast Temp Indicator BF1 | BF1-REC-HBT | BF1 Control Room | +/-5 Deg C | ------- | 0 to 1200 Deg C | Once in a year | 04.03.2022 | 04.03.2023
25 | Hot Blast Pressure Indicator BF2 | BF2-REC-HBP | BF2 Control Room | +/- 0.01 kg/cm2 | ------- | 0 to 1.6 kg/cm2 | Once in a year | 10.05.2022 | 10.05.2023
26 | Top Gas Pressure Indicator BF2 | BF2-REC-TGP | BF2 Control Room | +/- 20 mmWc | ------- | 0-5000mmWc | Once in a year | 10.05.2022 | 10.05.2023
27 | Inter Bell Pressure Indicator Bf2 | BF2-REC-IBP | BF2 Control Room | +/- 20 mmWc | ------- | 0-5000mmWc | Once in a year | 09.05.2022 | 09.05.2023
28 | Wind Volume Indicator BF2 | BF2-REC-WVB | BF2 Control Room | +/-300 nm3/hr | ------- | 0 to 38,000 Nm3 | Once in a year | 10.05.2022 | 10.05.2023
29 | Hot Blast Temp Indicator BF2 | BF2-REC-HBT | BF2 Control Room | +/-5 Deg C | ------- | 0 to 1200 Deg C | Once in a year | 30.04.2022 | 30.04.2023
30 | Portable CO monitor | SIL-01 | INST | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 07.07.2022 | 07.10.2022
31 | Portable CO monitor | SIL-02 | INST | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month
32 | Portable CO monitor | SIL-03 | INST | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 07.07.2022 | 07.10.2022
33 | Portable CO monitor | SIL-04 | ELEC | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 03.07.2022 | 03.10.2022
34 | Portable CO monitor | SIL-05 | ELEC | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 07.07.2022 | 07.10.2022
35 | Portable CO monitor | SIL-06 | ELEC | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 19.07.2022 | 19.10.2022
36 | Portable CO monitor | SIL-07 | PROD | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 03.07.2022 | 03.10.2022
37 | Portable CO monitor | SIL-08 | PROD | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 08.07.2022 | 08.10.2022
38 | Portable CO monitor | SIL-09 | PROD | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 07.07.2022 | 07.10.2022
39 | Portable CO monitor | SIL-10 | PROD | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 16.08.2022 | 16.11.2022
40 | Portable CO Monitor | SIL-11 | PROD | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 25.05.2022 | 25.08.2022
41 | Portable CO Monitor | SIL-12 | PROD | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 02.07.2022 | 02.10.2022
42 | Portable CO Monitor | SIL-13 | RMHS | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 03.07.2022 | 03.10.2022
43 | Portable CO Monitor | SIL-14 | CIVIL | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 11.06.2022 | 11.09.2022
44 | Portable CO Monitor | SIL-15 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 03.07.2022 | 03.10.2022
45 | Portable CO Monitor | SIL-16 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 07.07.2022 | 07.10.2022
46 | Portable CO Monitor | SIL-17 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 03.07.2022 | 03.10.2022
47 | Portable CO Monitor | SIL-18 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 07.07.2022 | 07.10.2022
48 | Portable CO Monitor | SIL-19 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 03.07.2022 | 03.10.2022
49 | Portable CO Monitor | SIL-20 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 07.07.2022 | 07.10.2022
50 | Portable CO Monitor | SIL-21 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 19.07.2022 | 19.10.2022
51 | Portable CO Monitor | SIL-22 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 03.07.2022 | 03.10.2022
52 | Portable CO Monitor | SIL-23 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 19.07.2022 | 19.10.2022
53 | Portable CO Monitor | SIL-24 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month
54 | Portable CO Monitor | SIL-25 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 13.07.2022 | 13.10.2022
55 | Portable CO Monitor | SIL-26 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 03.07.2022 | 03.10.2022
56 | Portable CO Monitor | SIL-27 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 19.07.2022 | 19.10.2022
57 | Portable CO Monitor | SIL-28 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 19.07.2022 | 19.10.2022
58 | Portable CO Monitor | SIL-29 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 25.07.2022 | 25.10.2022
59 | Portable CO Monitor | SIL-30 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 19.07.2022 | 19.10.2022
60 | Portable CO Monitor | SIL-31 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month
61 | Portable CO Monitor | SIL-32 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month
62 | Portable CO/O2 Monitor | SIL-33 | MECH | +/- 1 ppm | 0.001 | 0 to 30% for O2 | Once in 3 month | 07.07.2022 | 07.10.2022
63 | Portable CO/O2 Monitor | SIL-34 | MECH | +/- 1 ppm | 0.1% | 0 to 30% for O2 | Once in 3 month | 03.07.2022 | 03.10.2022
64 | Portable CO/O2 Monitor | SIL-35 | MECH | +/- 1 ppm | 0.1% | 0 to 30% for O2 | Once in 3 month | 05.07.2022 | 05.10.2022
65 | Portable CO Monitor | SIL-36 | MECH | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month
66 | Portable CO Monitor | SIL-37 | PROD | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 04.07.2022 | 04.10.2022
67 | Portable CO Monitor | SIL-38 | PROD | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 04.07.2022 | 04.10.2022
68 | Portable CO Monitor | SIL-39 | PROD | +/- 1 ppm | 1PPM | 0 - 1000PPM | Once in 3 month | 04.07.2022 | 04.10.2022
69 | Online CO Detector | SIL-01 | BF2 CONTROL ROOM | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 13.07.2022 | 13.10.2022
70 | Online CO Detector | SIL-02 | BF2 CAST HOUSE (RIVER SIDE) | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 03.07.2022 | 03.10.2022
71 | Online CO Detector | SIL-03 | BF2 CAST HOUSE (CB5 SIDE) | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 01.07.2022 | 01.10.2022
72 | Online CO Detector | SIL-04 | BF2 WORKER REST ROOM | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 23.07.2022 | 23.10.222
73 | Online CO Detector | SIL-05 | HBS2 FIELD | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 26.06.2022 | 26.09.2022
74 | Online CO Detector | SIL-06 | BF2 HEARTH | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 14.06.2022 | 14.09.2022
75 | Online CO Detector | SIL-07 | BF2 FLARESTACK | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 07.07.2022 | 07.10.2022
76 | Online CO Detector | SIL-08 | BF2 GCS | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 19.05.2022 | 19.08.2022
77 | Online CO Detector | SIL-09 | SAMPLE CONVEYOR | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 26.06.2022 | 26.09.2022
78 | Online CO Detector | SIL-10 | BF1 CONTROL ROOM | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 18.08.2022 | 18.11.2022
79 | Online CO Detector | SIL-11 | BF1 CAST HOUSE (RIV SIDE) | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 07.07.2022 | 07.10.2022
80 | Online CO Detector | SIL-12 | BF1 CAST HOUSE (CB5 SIDE) | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 07.07.2022 | 07.10.2022
81 | Online CO Detector | SIL-13 | BF1 WORKER REST ROOM | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 17.08.2022 | 17.11.2022
82 | Online CO Detector | SIL-14 | BF1 HEARTH | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 13.07.2022 | 13.10.2022
83 | Online CO Detector | SIL-15 | BF1 GCS | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 17.07.2022 | 17.10.2022
84 | Online CO Detector | SIL-16 | HBS1 FIELD | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 17.08.2022 | 17.11.2022
85 | Online CO Detector | SIL-17 | HBS 1 DRIP POT | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 16.06.2022 | 16.09.2022
86 | Online CO Detector | SIL-18 | BF1 FLARE STACK DRIP | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 16.06.2022 | 16.09.2022
87 | Online CO Detector | SIL-19 | BF1 BLOWER DRIP POT | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 16.06.2022 | 16.09.2022
88 | Online CO Detector | SIL-20 | THICKNER AREA | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 13.07.2022 | 13.10.2022
89 | Online CO Detector | SIL-21 | 5 TPH DRIP POT | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 13.07.2022 | 13.10.2022
90 | Online CO Detector | SIL-23 | SLAG DRIER DRIP POT | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 16.07.2022 | 16.10.2022
91 | Online CO Detector | SIL-24 | PCI | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 15.07.2022 | 15.11.2022
92 | Online CO Detector | SIL-25 | GEL BELOW MOV 317 | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 13.07.2022 | 13.10.2022
93 | Online CO Detector | SIL-26 | GAS HOLDER BELOW VENTUARY | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 14.07.2022 | 14.10.2022
94 | Online CO Detector | SIL-27 | TEA STALL | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 18.08.2022 | 18.11.2022
95 | Online CO Detector | SIL-28 | DISPENSARY | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 18.08.2022 | 18.11.2022
96 | Online CO Detector | SIL-29 | MECH DRILL BIT SHED | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 16.06.2022 | 16.09.2022
97 | Online CO Detector | SIL-30 | MECHANICAL W/S DRIP POT | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 13.07.2022 | 13.10.2022
98 | Online CO Detector | SIL-31 | BF1 RMHS YARD | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 17.06.2022 | 17.09.2022
99 | Online CO Detector | SIL-32 | RMHS OFFICE | +/- 1 ppm | 1PPM | 0-500PPM | Once in 3 month | 13.07.2022 | 13.10.2022
100 | Online CO Detector | SIL-33 | KEMBLA BRIDGE | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 26.06.2022 | 26.09.2022
101 | Online CO Detector | SIL-34 | BF2 BAGHOUSE | +/- 1 ppm | 1PPM | 0-1000PPM | Once in 3 month | 13.04.2022 | 13.09.2022
102 | Oxygen Analyzer | BF1-O2A | BF1 HBS | +/- 0.5 % | 0.01 | 0 to 20.9% | Once in 6 months | 24.02.2022 | 24.08.2022
103 | Oxygen Analyzer | BF2-O2A | BF2 HBS | +/- 0.5 % | 0.01 | 0 to 20.9% | Once in 6 months | 19.08.2022 | 19.11.2022
104 | Oil Flow meter 25 mm | 10472 | CAT DG 1 | +/- 0.5 % | 0.1 LPH | 40 to 180 LPH | Once in a year | 26.12.2021 | 26.12.2022
105 | Oil Flow meter 25 mm | 10474 | CAT DG 2 | +/- 0.5 % | 0.1 LPH | 40 to 180 LPH | Once in a year | 26.12.2021 | 26.12.2022
106 | Oil Flow meter 25mm | 10471 | CAT DG 3 | +/- 0.5 % | 0.1 LPH | 40 to 180 LPH | Once in a year | 26.12.2021 | 26.12.2022
107 | Oil Flow meter 25mm | 10470 | INTAC DG | +/- 0.5 % | 0.1 LPH | 40 to 180 LPH | Once in a year | 26.12.2021 | 26.12.2022
108 | Gepl BFGas Flow Tx | GEPLFLOW | GEPL line | +/-1 mmWc | ------- | 0 to 100 mmWC | Once in a Year | 24.02.2022 | 24.02.2023
109 | Gepl BFGas Press Tx | GEPLPRESS | GEPL line | +/- 10 mmWc | ------- | -200 to 1000 mmwc | Once in a Year | 24.02.2022 | 24.02.2023
110 | Gas Analyzer | A020 | BF1 GCS | CO: 0.5 Vol% | 0.01 Vol% | 0 to 50 Vol % | Once in a month | 17.08.2022 | 17.11.2022
|  |  |  | CO2: 0.5 Vol% | 0.01 Vol% | 0 to 50 Vol % | Once in a month | 17.08.2022 | 17.11.2022
|  |  |  | H2: 0.1 Vol% | 0.01 Vol% | 0 to 10 Vol% | Once in a month | 17.08.2022 | 17.11.2022
111 | Total Gas Flow Transmitter | TGFBF1 | BF1 GCS | +/-5 mmWc | ------- | 0 to 185 mmWC | Once in a year | 03.01.2022 | 03.01.2023
112 | BFG Pressure Tx | BFG Press BF1 | BF1 GCS | +/-20 mmWc | -------- | 0 to 2000 mmwc | Once in a year | 05.01.2022 | 05.01.2023
113 | BFG Temperature | BFG Temp BF1 | BF1 PLC | +/- 5 deg cel | ------ | -270 to 1372 Deg C | Once in a year | 10.01.2022 | 10.01.2023
114 | VENTURI 1 DP TX | VENT 1 DP BF1 | BF1 GCS | +/-20 mmWc | ------- | 0 to 5000 mmwc | Once in a year | 01.06.2022 | 01.06.2023
115 | VENTURI 2 DP TX | VENT 2 DP BF1 | BF1 GCS | +/-20 mmWc | ------- | 0 to 5000 mmwc | Once in a year | 24.05.2022 | 24.05.2023
116 | Total Gas Flow Transmitter | TGFBF2 | BF2 GCS | +/-5 mmWc | ------- | 0 to 200 mmWC | Once in a year | 24.05.2022 | 24.05.2023
117 | BFG Pressure Tx | BFG Press BF2 | BF2 GCS | +/-20 mmWc | ------ | 0 to 2000 mmwc | Once in a year | 19.04.2022 | 19.04.2023
118 | BFG Temperature | BFG Temp BF2 | BF2 PLC | +/- 5 deg cel | ------ | -270 to 1372 Deg C | Once in a year | 19.04.2022 | 19.04.2023
119 | VENTURI 1 DP TX | VENT 1 DP BF2 | BF2 GCS | +/-20 mmWc | ------ | 0 to 5000 mmwc | Once in a year | 19.04.2022 | 19.04.2023
120 | VENTURI 2 DP TX | VENT 2 DP BF2 | BF2 GCS | +/-20 mmWc | ------ | 0 to 5000 mmwc | Once in a year | 19.04.2022 | 19.04.2023
121 | BFG Flow Transmitter | SDP-BFGFT | Slag Drier | +/- 5mmwc | ---------- | 0 to 150 mmWc | Once in a year | 02.02.2022 | 02.02.2023
122 | BFGas Flow Transmitter | FT1202 | HBS1 stove 1 | +/- 5mmwc | ------- | 0 to 386 mmWc | Once in a year | 28.05.2022 | 28.05.2023
123 | BFGas Flow Transmitter | FT1302 | HBS1 stove 2 | +/- 5mmwc | ------- | 0 to 386 mmWc | Once in a year | 05.06.2022 | 05.06.2023
124 | BFGas Flow Transmitter | FT1402 | HBS1 stove 3 | +/- 5mmwc | ------- | 0 to 386 mmWc | Once in a year | 29.07.2022 | 29.07.2023
125 | BFGas Flow Transmitter | FT2202 | HBS2 stove 1 | +/- 5mmwc | ------- | 0 to 386 mmWc | Once in a year | 19.04.2022 | 19.04.2023
126 | BFGas Flow Transmitter | FT2302 | HBS2 stove 2 | +/- 5mmwc | ------- | 0 to 386 mmWc | Once in a year | 01.03.2022 | 01.03.2023
127 | BFGas Flow Transmitter | FT2402 | HBS2 stove 3 | +/- 5mmwc | ------- | 0 to 386 mmWc | Once in a year | 17.03.2022 | 17.03.2023
128 | BFGas Pressure Transmitter | PT1109 | HBS1 stove 1 | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 19.10.2021 | 19.10.2022
129 | BFGas Pressure Transmitter | PT1209 | HBS1 stove 2 | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 19.10.2021 | 19.10.2022
130 | BFGas Pressure Transmitter | PT1309 | HBS1 stove 3 | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 26.10.2021 | 26.10.2022
131 | BFGas Pressure Transmitter | PT2109 | HBS2 stove 1 | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 07.09.2021 | 07.09.2022
132 | BFGas Pressure Transmitter | PT2209 | HBS2 stove 2 | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 10.10.2021 | 10.10.2022
133 | BFGas Pressure Transmitter | PT2309 | HBS2 stove 3 | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 25.10.2021 | 25.10.2022
134 | BFGas Temperature | TE1110 | HBS1 PLC | +/- 5 Deg C | ------- | -270 to 1372 Deg C | Once in a year | 13.08.2022 | 13.08.2023
135 | BFGas Temperature | TE2110 | HBS2 PLC | +/- 5 Deg C | ----- | -270 to 1372 Deg C | Once in a year | 09.05.2022 | 09.05.2023
136 | Gepl BFGas Flow | GEPLFLOW PLC | GEPL PLC | +/-200 Nm3/hr | ------- | 0 to 71000 Nm3/h | Once in a Year | 24.02.2022 | 24.02.2023
137 | Gepl BFGas Press | GEPLPRESS PLC | GEPL PLC | +/- 10 mmWc | ------- | -200 to 1000 mmwc | Once in a Year | 24.02.2022 | 24.02.2023
138 | Gepl BFGas Temperature | GEPL TEMP PLC | GEPL PLC | +/- 5 deg cent | ------ | -200 to 850 Deg C | Once in a Year | 24.02.2022 | 24.02.2023
139 | Total Gas Flow | TGFBF1 PLC | BF1 PLC | +/-200 Nm3/hr | ------- | 0 to 42000 Nm3/hr | Once in a year | 02.01.2022 | 02.01.2023
140 | BFG Pressure | BFG Press BF1 PLC | BF1 PLC | +/- 20 mmWc | -------- | 0 to 2000 mmwc | Once in a year | 04.01.2022 | 04.01.2023
141 | Total Gas Flow | TGFBF2 PLC | BF2 PLC | +/-200 Nm3/hr | ------- | 0 to 44000 Nm3/hr | Once in a year | 09.05.2022 | 09.05.2023
142 | BFG Pressure | BFG Press BF2 PLC | BF2 PLC | +/- 20 mmWc | ------ | 0 to 2000 mmwc | Once in a year | 23.01.2022 | 23.01.2023
143 | VENT 1 DP | VENT 1 DP BF1 PLC | BF1 PLC | +/- 20 mmWc | ------ | 0 to 5000 mmwc | Once in a year | 13.06.2022 | 13.06.2023
144 | VENT 2 DP | VENT 2 DP BF1 PLC | BF1 PLC | +/- 20 mmWc | ------ | 0 to 5000 mmwc | Once in a year | 13.06.2022 | 13.06.2023
145 | VENT 1 DP | VENT 1 DP BF2 PLC | BF2 PLC | +/- 20 mmWc | ------ | 0 to 5000 mmwc | Once in a year | 13.03.2022 | 13.03.2023
146 | VENT 2 DP | VENT 2 DP BF2 PLC | BF2 PLC | +/- 20 mmWc | ------ | 0 to 5000 mmwc | Once in a year | 13.03.2022 | 13.03.2023
147 | BFG Flow | SDP-PLC-BFGF | Slag Drier PLC | +/-200 Nm3/hr | ---------- | 0 to 8,000 Nm3/hr | Once in a year | 02.02.2022 | 02.02.2023
148 | BFGas Flow | FT1202 PLC | HBS1 stove 1 PLC | +/-200 Nm3/hr | ------- | 0 to 15,000 Nm3/hr | Once in a year | 28.05.2022 | 28.05.2023
149 | BFGas Flow | FT1302 PLC | HBS1 stove 2 PLC | +/-200 Nm3/hr | ------- | 0 to 15,000 Nm3/hr | Once in a year | 08.06.2022 | 08.06.2023
150 | BFGas Flow | FT1402 PLC | HBS1 stove 3 PLC | +/-200 Nm3/hr | ------- | 0 to 15,000 Nm3/hr | Once in a year | 28.07.2022 | 28.07.2023
151 | BFGas Flow | FT2202 PLC | HBS2 stove 1 PLC | +/-200 Nm3/hr | ------- | 0 to 15,000 Nm3/hr | Once in a year | 08.06.2022 | 08.06.2023
152 | BFGas Flow | FT2302 PLC | HBS2 stove 2 PLC | +/-200 Nm3/hr | ------- | 0 to 15,000 Nm3/hr | Once in a year | 13.07.2021 | 13.07.2022
153 | BFGas Flow | FT2402 PLC | HBS2 stove 3 PLC | +/-200 Nm3/hr | ------- | 0 to 15,000 Nm3/hr | Once in a year | 06.08.2022 | 06.08.2023
154 | BFGas Pressure | PT1109 PLC | HBS1 stove 1 PLC | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 10.09.2021 | 10.09.2022
155 | BFGas Pressure | PT1209 PLC | HBS1 stove 2 PLC | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 05.10.2021 | 05.10.2022
156 | BFGas Pressure | PT1309 PLC | HBS1 stove 3 PLC | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 08.11.2021 | 08.11.2022
157 | BFGas Pressure | PT2109 PLC | HBS2 stove 1 PLC | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 10.09.2021 | 10.09.2022
158 | BFGas Pressure | PT2209 PLC | HBS2 stove 2 PLC | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 09.10.2021 | 09.10.2022
159 | BFGas Pressure | PT2309 PLC | HBS2 stove 3 PLC | +/- 10 mmWc | ------- | 0 to 2000 mmwc | Once in a year | 29.10.2021 | 29.10.2022
160 | Pressure switch-Jockey pump start | FH-PS1 | Fire hydrant control room | 0.1 Kg/Cm2 | ------- | Set point- 5.0 Kg/Cm2 | Once in a year | 20.06.2022 | 20.06.2023
161 | Pressure switch-Jockey pump stop | FH-PS2 | Fire hydrant control room | 0.1 Kg/Cm2 | ------- | Set point- 6.2Kg/Cm2 | Once in a year | 20.06.2022 | 20.06.2023
162 | Pressure switch-Main pump start | FH-PS3 | Fire hydrant control room | 0.1 Kg/Cm2 | ------- | Set point- 3.7 Kg/Cm2 | Once in a year | 20.06.2022 | 20.06.2023
163 | Pressure switch-Engine pump start | FH-PS4 | Fire hydrant control room | 0.1 Kg/Cm2 | ------- | Set point- 3.2 Kg/Cm2 | Once in a year | 20.06.2022 | 20.06.2023
164 | Slag dryer draft pressure tx | SDP-PT1 | Slag dryer Plant | +/- 1 mmWC | ------- | -100 to 0 mmWc | Once in a Year | 14.02.2022 | 14.02.2023
165 | BF1 Cooling header pressure guage | BF1-CH-PI1 | BF1 cast house | +/- 0.2 kg/cm2 | 0.1 kg/cm2 | 0-10 kg/cm2 | Once in a Year | 29.04.2022 | 29.04.2023
166 | BF2 Cooling header pressure gauge | BF2-CH-PI1 | BF2 cast house | +/- 0.2 kg/cm2 | 0.1 kg/cm2 | 0-10 kg/cm2 | Once in a Year | 30.04.2022 | 30.04.2023
167 | HBS1 draft pressure tx | HBS1-D-TX | HBS1 | +/- 1 mmWC | ------- | 0 to -100 mmWc | Once in a Year | 13.06.2022 | 13.06.2023
168 | HBS2 draft pressure tx | HBS2-D-TX | HBS2 | +/- 1 mmWC | ------- | 0 to -100 mmWc | Once in a Year | 24.05.2022 | 24.05.2023
169 | HBS1 combustion air pressure tx | HBS1-PT1111 | HBS1 | +/- 10 mmWc | ------- | 0 to 2000mmWC | Once in a Year | 13.06.2022 | 13.06.2023
170 | HBS2 combustion air pressure tx | HBS2-PT1111 | HBS2 | +/- 10 mmWc | ------- | 0 to 2000mmWC | Once in a Year | 24.05.2022 | 24.05.2023
171 | Outside compressor house Pressure gauge | CMPR-PG-SIL-03 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 15.04.2022 | 15.10.2022
172 | Inside compressor house Pressure gauge | CMPR-PG-SIL-04 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 16.04.2022 | 16.10.2022
173 | BF-II RMHS Pressure gauge | BF1-PG-SIL-48 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 04.03.2022 | 04.09.2022
174 | BF-I RMHS Pressure gauge | BF1-PG-SIL-46 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 04.03.2022 | 04.09.2022
175 | BF-II Glendon Pressure gauge | BF2-PG-SIL-10 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 18.04.2022 | 18.10.2022
176 | Thickner area Pressure gauge | THKNR-PG-SIL-13 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 16.04.2022 | 16.10.2022
177 | Gas holder area Pressure gauge | GH-PG-SIL-14 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 08.06.2022 | 08.12.2022
178 | Laboratory Pressure gauge | LAB-PG-SIL 15 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 18.04.2022 | 18.10.2022
179 | RMHS COKE SCREEN Pressure gauge | RMHS-PG-SIL-26 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 02.03.2022 | 04.09.2022
180 | Desulphurisation - bf 2 Pressure gauge | BF2-PG-SIL -18 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 02.07.2022 | 02.01.2023
181 | Bf1 Drill machine | BF1-PG-SIL-19 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 05.05.2022 | 05.11.2022
182 | Bf2 Flare Stack Pressure gauge | BF2-PG-SIL -47 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 04.03.2022 | 04.09.2022
183 | lime handling pressure gauge | BH-PG-SIL - 28 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 04.03.2022 | 04.09.2022
184 | Plant 5 Pressure gauge | PLN5-PG-SIL - 24 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 25.05.2022 | 25.11.2022
185 | BF-II tap Hole drill machine | BF2-PG-SIL -25 | Air receiver | +/- 0.2 kg/cm2 | ------- | 0-25 kg/cm2 | Once in 6 months | 04.03.2022 | 04.09.2022
186 | COMPRESSED AIR TANK PRESSURE GUAGE | PCI-PG-SIL- 30 | PCI | +/- 0.2 kg/cm2 | 0.01 kg/cm2 | 0-25 kg/cm2 | Once in 6 months | 04.03.2022 | 04.09.2022
187 | COMPRESSED AIR TANK PRESSURE GUAGE | PCI-PG-SIL- 31 | PCI | +/- 0.2 kg/cm2 | 0.01 kg/cm2 | 0-25 kg/cm2 | Once in 6 months | 15.03.2022 | 15.09.2022
188 | PROCESS COMPRESSED AIR TANK PRESSURE GAUGE | PCI-PG-SIL- 34 | PCI | +/- 0.2 kg/cm2 | 0.01 kg/cm2 | 0-25 kg/cm2 | Once in 6 months | 04.03.2022 | 04.09.2022
189 | NITROGEN TANK PRESSURE GAUGE | PCI-PG-SIL- 32 | PCI | +/- 0.2 kg/cm2 | 0.01 kg/cm2 | 0-25 kg/cm2 | Once in 6 months | 06.03.2022 | 06.09.2022
190 | NITROGEN TANK PRESSURE GAUGE | PCI-PG-SIL- 33 | PCI | +/- 0.2 kg/cm2 | 0.01 kg/cm2 | 0-25 kg/cm2 | Once in 6 months | 06.03.2022 | 06.09.2022
191 | NITROGEN GENERATOR COMPRESSED AIR TANK PRESSURE GAUGE | PCI-PG-SIL- 35 | PCI | +/- 0.2 kg/cm2 | 0.01 kg/cm2 | 0-25 kg/cm2 | Once in 6 months | 06.03.2022 | 06.09.2022
192 | NITROGEN GENERATOR NITROGEN TANK PRESSURE GAUGE | PCI-PG-SIL- 36 | PCI | +/- 0.2 kg/cm2 | 0.01 kg/cm2 | 0-25 kg/cm2 | Once in 6 months | 06.03.2022 | 06.09.2022
193 | Fire hydrant Pressure gauge | FH-PG-SIL-01 | Fire hydrant control room | +/- 0.2 kg/cm2 | ------- | 0-10 kg/cm2 | Once in 6 months | 20.05.2022 | 20.11.2022
194 | Weighbridge (WB6) | 23233010 | Rawmaterial | +/- 30 Kgs | 10 Kgs | 0 to 75000kgs | Once in 3 month | 15.07.2022 | 15.10.2022
195 | Weighbridge (WB1) | 2605040 | Rawmaterial | +/- 30 Kgs | 10 Kgs | 0 to 60000kgs | Once in 3 month | 15.07.2022 | 15.10.2022
196 | Weighbridge (WB3) | 200303066 | Dispatch | +/- 30 Kgs | 10 Kgs | 0 to 75000kgs | Once in 3 month | 15.07.2022 | 15.10.2022
197 | Weighbridge (WB2) | 33333048 | Dispatch | +/- 30 Kgs | 10 Kgs | 0 to 75000kgs | Once in 3 month | 15.07.2022 | 15.10.2022
198 | Weighbridge (WB4) | 22108 | Rawmaterial | +/- 30 Kgs | 10 Kgs | 0 to 40000kgs | Once in 3 month | 15.07.2022 | 15.10.2022
198 | Weighbridge (WB7) | 911179 | Rawmaterial | +/- 30 Kgs | 10 Kgs | 0 to 40000kgs | Once in 3 month | 2020-10-30 | 2021-10-29
| Weighbridge (WB8) | 20357 | Dispatch | +/- 30 Kgs | 10 Kgs | 0 to 75000kgs | Once in 3 month | 2021-12-30 | 2021-12-29
200 | ONline CO GAS ANALYSER | AECO-101 | PCI COAL BIN | +/-10 ppm | 1 ppm | 0 - 3000PPM | Once in 6 month | 11.03.2022 | 11.09.2022
201 | ONline O2 GAS ANALYSER | AEO2-201 | PCI COAL BIN | +/- 0.5 % | 0.0001 | 0-22 % | Once in 6 month | 11.03.2022 | 11.09.2022
202 | ONline N2 GAS ANALYSER | HLA-DTN-N2 | Nitrogen Generator | +/- 1 % | 0.001 | 0-100%VOL | Once in 6 month | 11.03.2022 | 11.09.2022
203 | INJECTION TANK A Weighing System | WT301 | PCI | +/- 20 Kgs | 1 kg | 0-5 ton | Once in 3 month | 19.07.2022 | 19.10.2022
204 | INJECTION TANK B Weighing System | WT302 | PCI | +/- 20 Kgs | 1 kg | 0-5 ton | Once in 3 month | 19.07.2022 | 19.10.2022
205 | INJECTION TANK C Weighing System | WT303 | PCI | +/- 20 Kgs | 1 kg | 0-5 ton | Once in 3 month | 19.07.2022 | 19.10.2022
206 | INJECTION TANK D Weighing System | WT304 | PCI | +/- 20 Kgs | 1 kg | 0-5 ton | Once in 3 month | 19.07.2022 | 19.10.2022
207 | COAL FINE BIN Weighing System | WT305 | PCI | +/- 30 Kgs | 1 kg | 0-35 ton | Once in 3 month | 19.07.2022 | 19.10.2022
208 | DISTRIBUTOR COAL INJECTION PRESSURE BF1 | PE-218 | BF1 cast house | +/-20kpa | ------- | 1088kpa | Once in a Year | 21.03.2022 | 21.03.2023
209 | DISTRIBUTOR COAL INJECTION PRESSURE BF2 | PE-219 | BF2 cast house | +/-20kpa | ------- | 1088kpa | Once in a Year | 27.02.2022 | 27.02.2023
210 | DS CANISTER TANK TX | CT-TX | PCM4 | +/- 0.5 bar | ------- | 0 -16 BAR | Once in a Year | 06.03.2022 | 06.03.2023
211 | STROHLEINS APPARATUS ATTCHED TEMP CONTROLLER (SHEETAL SCIENTIFIC) | CA/03 | LAB | +/- 5 deg C | 1 DEG | 0-1500 deg C | ONCE A YEAR | 26.02.2022 | 26.02.2023
212 | MUFFLE FURNACE (PEW MAKE) TEMP CONTROLLER | MF/01 | LAB | +/- 5 deg C | 1C | 0-1200 C | ONCE A YEAR | 26.02.2022 | 26.02.2023
213 | MUFFLE FURNACE (PEW MAKE) TEMP CONTROLLER | MF/02 | LAB | +/- 5 deg C | 1C | 0-1200 C | ONCE A YEAR | 01.03.2022 | 01.03.2023
214 | HEATING OVEN TEMPERATURE CONTROLLER | OV/01 | LAB | +/-3 deg C | 1C | 0-300 C | ONCE A YEAR | 26.02.2022 | 26.02.2023
215 | HEATING OVEN TEMPERATURE CONTROLLER PEW MAKE (NEW) | OV/02 | LAB | +/-3 deg C | 1C | 0-300 C | ONCE A YEAR | 26.02.2022 | 26.02.2023
216 | AUTOMATIC TANK LEVEL GAUGE | 4184 | DIESEL TANK | 29 LITER | 1cm | 0-4500MM | Once in a Year | 09.07.2021 | 09.07.2023
217 | GEL STEAM LINE PRESSURE TX | PT1 | Steam Line (Field) | +/- 0.5 bar | ------- | 0-10BAR | Once in a Year | 11.03.2022 | 11.03.2023
218 | O2 GENERATOR STORAGE TANK | O2-TX | O2 receiver | +/- 0.2 bar | ------- | 0-16 bar | Once in a year | 04.03.2022 | 04.03.2023
219 | O2 GENERATOR STORAGE TANK BF1 | O2-TX | O2 receiver | +/- 0.2 bar | ------- | 0-16 bar | Once in a year | 04.03.2022 | 04.03.2023
220 | O2 GENERATOR STORAGE TANK Bf2 | O2-TX | O2 receiver | +/- 0.2 bar | ------- | 0-16 bar | Once in a year | 04.03.2022 | 04.03.2023
Note on B35: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: REPLACEMENT INDENTED
Note on B57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: REPLACEMENT INDENTED
Note on B64: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: REPLACEMENT INDENTED
Note on B65: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: REPLACEMENT INDENTED
Note on B69: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: REPLACEMENT INDENTED
Note on B205: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: NOT INLINE
Note on B206: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: NOT INLINE