|  |  |  |  |
| --- | --- | --- | --- |
| A picture containing graphics, font, graphic design, logo  Description automatically generated | **VEDANTA LIMITED –**  **VALUE ADDED BUSINESS** | **Format No.:** | **FRMT/MR/10** |
| **INTEGRATED MANAGEMENT SYSTEM** | **Revision Date:** | **04.04.2022** |
| **HAZARD IDENTIFICATION** | **Revision No.:** | **02** |
| **Page No.:** | **1 of 1** |

**Rev No: 2** Unit: PID 1

Date: 04.04.2022 Dept: ELECTRICAL

A. Work activity information

|  |  |  |
| --- | --- | --- |
| **Sr.No.** | **Details** | **Remark** |
| 1) | Task being carried out, their duration and Frequency: | Installation of ceiling fan and exhaust fan  Duration: 01 hr  Frequency: As and when required |
| 2) | Location (s) where the work is carried out. | All over the plant are buildings/rooms |
| 3) | Who normally/occasionally carried out the task | Electrician/contractor employees |
| 4) | Who else may be affected by the work (For example visitors, subcontractors, the public) | Visitors and subcontractors |
| 5) | a)Has the personnel trained for performing the task  b) Any special training required | Yes  Not required |
| 6) | Is the written systems of work mandatory. If yes state the procedure no. | Nil |
| 7) | Is the work permit required for the task | Nil |
| 8) | Plant and machinery that may be used:  Eg : crusher, conveyor, crane, heavy earthing equipment, Truck etc, | Nil |
| 9) | Any electrically operated hand tools are used | Nil |
| 10) | Manufacturer’s or supplier’s instructions for operation and maintenance plant machinery and powered hand tools are available or not: | NA |
| **Sr.No.** | **Details** | **Remark** |
| 11) | Chain block, tools and shackles such as wire rope, hydraulic jack etc are used. | Nil |
| 12) | What materials are handled? Size, shape, surface character and weight of materials that may be handled: | Ceiling fan, weight:05 kgs |
| 13) | Is the material is required to be moved by hand. If yes Distance and heights of the place where materials have to move by hand. | Yes  From Electrical work shop to the fixing location, height:03 mts |
| 14) | Services used Eg: compressed air, oxygen, acetylene,  LPG gas, hydraulic oil, welding electrode for welding | Nil |
| 15) | Physical form of substances encountered during the work (For example fume, gas, vapour, liquid, dust/powder, solid): | Nil |
| 16) | Content and recommendations of safety data sheets relating to substances used or encountered:  ( this is applicable in case of chemical material) | NA |
| 17) | a) Relevant acts, regulations and standards relating to the work being done, the plant and machinery used and the materials used or encountered:  b) Is the activity is reviewed for compliance to statutory requirement | Indian electricity rule 1956  Not required |
| 18) | What is the data (s) required to be monitored during the activity and the frequency of monitoring. | Nil |
| 19) | Any information available from within and outside the organization on incident, accident and ill health experience associated with the work being done, equipment and substances used: | 1.Near miss case dated 03/02/02: At BFI crane control room, ceiling fan fell down as fixing bolt nut got loosened and bolt came out of the fan-mounting clamp.  2. Near miss case dated 29/07/06, exhaust fan at laboratory sampling room fell down.  3.nearmiss dated 03/04/2012: ceiling fan falling down at workers rest room |

2. From the above activity information hazards are to be identified and recorded below using Appendix 'A' of SP/41

**Hazards identified**

Physical, mechanical, Hazard due to Human Behaviour/error

|  |  |  |
| --- | --- | --- |
| **Prepared By:**  Senior Elect. Engineer | **Reviewed & Issued By:**  Management Representative | **Approved By:**  Head – Electrical & Instrumentation PID I |
| **Signature** | **Signature:** | **Signature:** |
| **Review Date: 04.03.2023** | **Review Date: 04.03.2023** | **Review Date: 04.03.2023** |