|  |  |  |  |
| --- | --- | --- | --- |
| A picture containing graphics, font, graphic design, logo  Description automatically generated | **VEDANTA LIMITED –**  **VALUE ADDED BUSINESS** | **Format No.:** | **FRMT/MR/10** |
| **INTEGRATED MANAGEMENT SYSTEM** | **Revision Date:** | **04.04.2022** |
| **HAZARD IDENTIFICATION** | **Revision No.:** | **02** |
| **Page No.:** | **1 of 1** |

**Rev No: 2**

Unit: PID 1

Date: 04.04.2022 Dept: ELECTRICAL

ELECT-11

Work activity information : **Light repairing and changing**

|  |  |  |
| --- | --- | --- |
| **Sr.No.** | **Details** | **Remark** |
| 1) | Task being carried out, their duration and Frequency: | Light repairing and changing  Duration: 02 hrs  Frequency: Daily |
| 2) | Location (s) where the work is carried out. | All over the plant area  Blower house,TG house and Cat DG house |
| 3) | Who normally/occasionally carried out the task | Electrican and contractor employees |
| 4) | Who else may be affected by the work (For example visitors, subcontractors, the public) | Subcontractor and visitors |
| 5) | a)Has the personnel trained for performing the task  b) Any special training required | Yes  No |
| 6) | Is the written systems of work mandatory. If yes state the procedure no. | WI/ELECT/19 |
| 7) | Is the work permit required for the task | Not required |
| 8) | Plant and machinery that may be used:  Eg : crusher, conveyor, crane, heavy earthing equipment, Truck etc, | Nil |
| 9) | Any electrically operated hand tools are used | Nil |
| 10) | Manufacturer’s or supplier’s instructions for operation and maintenance plant machinery and powered hand tools are available or not: | NA |
| **Sr.No.** | **Details** |  |
| 11) | Chain block, tools and shackles such as wire rope, hydraulic jack etc are used. | Nil |
| 12) | What materials are handled? Size, shape, surface character and weight of materials that may be handled: | Light fittings |
| 13) | Is the material is required to be moved by hand. If yes Distance and heights of the place where materials have to move by hand. | Yes, from w/s to site  Height: 15 mts |
| 14) | Services used Eg: compressed air, oxygen, acetylene,  LPG gas, hydraulic oil, welding electrode for welding | Nil |
| 15) | Physical form of substances encountered during the work (For example fume, gas, vapour, liquid, dust/powder, solid): | Fumes |
| 16) | Content and recommendations of safety data sheets relating to substances used or encountered:  ( this is applicable in case of chemical material) | MSDS for AC-90 cleaner |
| 17) | a) Relevant acts, regulations and standards relating to the work being done, the plant and machinery used and the materials used or encountered:  b) Is the activity is reviewed for compliance to statutory requirement | IE rule 1956  Not applicable |
| 18) | What is the data (s) required to be monitored during the activity and the frequency of monitoring. | Nil |
| 19) | Any information available from within and outside the organization on incident, accident and ill health experience associated with the work being done, equipment and substances used: | Incident dated 19/07/2003  Incident dated 04/09/04  Accident dated 30/06/05  Incident dated 15/12/05  Incident dated 02/08/06- tube light fitting at laboratory fell down .  Incident dated 14/06/08-tubelight reflector at laboratory fell down.  Incident dated 19/03/10-Magnet Crane dome type light fitting(Hanging type), its alluminium reflector weighing about 250 gms fallen down.  Incident dated 09/11/10: Lighting cable got spark as insulation tape peeled off while removing the cable.  Incident dated 02/11/16: . K Electrical team comprising of Mr. Sanjeev and Mr. Nagraj Mahavir was allotted the job of attending the lighting complain at BF 1 coke tunnel. While trouble shooting the lighting complain on 70 W fitting Mr. Nagraj got a electric shock due to leakage in the light fitting. |

**Hazards identified**

|  |  |  |
| --- | --- | --- |
| **Prepared By:**  Senior Elect. Engineer | **Reviewed & Issued By:**  Management Representative | **Approved By:**  Head – Electrical & Instrumentation PID I |
| **Signature** | **Signature:** | **Signature:** |
| **Review Date: 04.03.2023** | **Review Date: 04.03.2023** | **Review Date: 04.03.2023** |